## Sheet2
Application: Tecan i-control
Device: infinite 200Pro |  |  |  | Serial number: 1901006154 |  |  |  | Serial number of connected stacker:
Firmware: V_4.28_04/17_Infinite (Apr 13 2017/17.52.18) |  |  |  | MAI, V_4.28_04/17_Infinite (Apr 13 2017/17.52.18)
Date: | 28-07-2019
Time: | 01:28:05
System |  |  |  | TECANBIOSUSTAIN
User |  |  |  | TECANBIOSUSTAIN\Tecan
Plate |  |  |  | Corning 384 Flat Bottom Transparent Polystyrene Cat. No.: 3640/3680/3700/3701/3702 [COS384ft.pdfx]
Plate-ID (Stacker)
Shaking (Linear) Duration: |  |  |  | 20 | s
Shaking (Linear) Amplitude: |  |  |  | 1 | mm
Label: Label1
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 450 | nm
Bandwidth |  |  |  | 0 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 150 | ms
Part of Plate |  |  |  | A2-A2; A4-A4; A6-A6; A8-A8; A10-A10; A12-A12; A14-A14; A16-A16; A18-A18; A20-A20; A22-A22; A24-A24; C2-C2; C4-C4; C6-C6; C8-C8; C10-C10; C12-C12; C14-C14; C16-C16; C18-C18; C20-C20; C22-C22; C24-C24; E2-E2; E4-E4; E6-E6; E8-E8; E10-E10; E12-E12; E14-E14; E16-E16; E18-E18; E20-E20; E22-E22; E24-E24; G2-G2; G4-G4; G6-G6; G8-G8; G10-G10; G12-G12; G14-G14; G16-G16; G18-G18; G20-G20; G22-G22; G24-G24; I2-I2; I4-I4; I6-I6; I8-I8; I10-I10; I12-I12; I14-I14; I16-I16; I18-I18; I20-I20; I22-I22; I24-I24; K2-K2; K4-K4; K6-K6; K8-K8; K10-K10; K12-K12; K14-K14; K16-K16; K18-K18; K20-K20; K22-K22; K24-K24; M2-M2; M4-M4; M6-M6; M8-M8; M10-M10; M12-M12; M14-M14; M16-M16; M18-M18; M20-M20; M22-M22; M24-M24; O2-O2; O4-O4; O6-O6; O8-O8; O10-O10; O12-O12; O14-O14; O16-O16; O18-O18; O20-O20; O22-O22; O24-O24
Start Time: | 28-07-2019 01:28:25
Temperature: 24.9 °C
<> | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24
A | 0.0409 | 0.2794 | 0.4696 | 0.4576 | 0.4744 | 0.4402 | 0.4779 | 0.4678 | 0.5129 | 0.465 | 0.0433 | 0.4339
C | 0.4527 | 0.4301 | 0.4575 | 0.4803 | 0.4417 | 0.4628 | 0.4991 | 0.4337 | 0.3164 | 0.4016 | 0.0439 | 0.488
E | 0.042 | 0.2898 | 0.4612 | 0.4859 | 0.3927 | 0.4313 | 0.4443 | 0.4696 | 0.4343 | 0.4748 | 0.0439 | 0.4806
G | 0.4468 | 0.4487 | 0.4685 | 0.3423 | 0.4498 | 0.4616 | 0.5223 | 0.2825 | 0.5015 | 0.4991 | 0.044 | 0.4628
I | 0.4739 | 0.4585 | 0.4439 | 0.472 | 0.5123 | 0.4793 | 0.4528 | 0.4478 | 0.4523 | 0.4847 | 0.0439 | 0.3424
K | 0.2994 | 0.4562 | 0.5037 | 0.4492 | 0.4616 | 0.473 | 0.4428 | 0.4702 | 0.3022 | 0.454 | 0.0441 | 0.3607
M | 0.5639 | 0.3511 | 0.8282 | 0.4819 | 0.458 | 0.5304 | 0.4748 | 0.4891 | 1.0567 | 0.5256 | 0.0439 | 0.3478
O | 0.7874 | 0.495 | 0.4556 | 0.5156 | 0.4654 | 0.4637 | 0.4535 | 0.5087 | 0.4738 | 0.5099 | 0.0442 | 0.3329
End Time: | 28-07-2019 01:30:02
Note on E1: Tecan.At.Common, 3.4.1.0 Tecan.At.Common.DocumentManagement, 3.4.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.2.2.0 Tecan.At.Common.MCS, 3.4.1.0 Tecan.At.Common.Results, 3.4.1.0 Tecan.At.Common.UI, 3.4.1.0 Tecan.At.Communication.Common, 3.4.1.0 Tecan.At.Communication.Port.IP, 3.4.1.0 Tecan.At.Communication.Port.SIM.Common, 3.4.1.0 Tecan.At.Communication.Port.USB, 3.4.1.0 Tecan.At.Communication.Server, 3.4.1.0 Tecan.At.Communication.SIM.AMR, 3.2.2.0 Tecan.At.Communication.SIM.AMRPlus, 3.2.2.0 Tecan.At.Communication.SIM.Connect, 3.4.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.2.2.0 Tecan.At.Communication.SIM.Safire3, 3.2.2.0 Tecan.At.Communication.SIM.Safire3Pro, 3.2.2.0 Tecan.At.Communication.SIM.SunriseMini, 3.2.2.0 Tecan.At.Instrument.Common, 3.4.1.0 Tecan.At.Instrument.Common.GCM, 3.4.1.0 Tecan.At.Instrument.Common.Reader, 3.2.2.0 Tecan.At.Instrument.Common.Stacker, 3.4.1.0 Tecan.At.Instrument.Gas.GCM, 3.4.1.0 Tecan.At.Instrument.GCM.Server, 3.4.1.0 Tecan.At.Instrument.Reader.AMR, 3.2.2.0 Tecan.At.Instrument.Reader.AMRPlus, 3.2.2.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.2.2.0 Tecan.At.Instrument.Reader.Safire3, 3.2.2.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.2.2.0 Tecan.At.Instrument.Reader.SunriseMini, 3.2.2.0 Tecan.At.Instrument.Server, 3.4.1.0 Tecan.At.Instrument.Stacker.Connect, 3.4.1.0 Tecan.At.Measurement.Common, 3.2.2.0 Tecan.At.Measurement.Server, 3.2.2.0 Tecan.At.XFluor.Connect.Reader, 1.10.3.0 Tecan.At.XFluor.Core, 1.10.3.0 Tecan.At.XFluor.ExcelOutput, 1.10.3.0
Note on E3: HCP, V_4.28_04/17_Infinite (Apr 13 2017/17.52.18) FIL, V_4.28_04/17_Infinite (Apr 13 2017/17.52.18)